|  | EUROPEAN COMMISSION DIRECTORATE GENERAL JOINT RESEARCH CENTRE Directorate F – Health, Consumers and Reference Materials European Union Reference Laboratory for Feed Additives |
| --- | --- |

Working document

EURL –FA
Validation and verification technical guide for Sensory feed Additives - flavouring compounds 2(b) from botanical origin

| Date: | 21/06/2018 |
| --- | --- |
| Version: | 1.0 |
| Author: | María José GONZALEZ DE LA HUEBRA |
| Reviewed by: | Stefano BELLORINI, Zigmas EZERSKIS |
| Approved by: | Christoph von HOLST |

Document History

| Version | Date | Comment | Modified Pages |
| --- | --- | --- | --- |
| 1.0 | 21/06/2018 | EURL –FA Validation and verification technical guide for Sensory feed Additives - flavouring compounds 2(b) from botanical origin created by María José GONZALEZ DE LA HUEBRA |  |

Purpose of the working document:

For the evaluation of dossiers regarding the authorisations of botanical defined flavourings the EURL will focus on the evaluation of analytical methods for the quantification of the phytochemical marker(s) selected by the Applicant in the feed additive, as specified by chapter 2.2.1.1 of Annex II of Commission Regulation (EU) No 429/2008. The evaluation takes into account the corresponding ranges of the content of the relevant phytochemical marker(s) in the product as specified in the dossier e.g. Proposal for Registry Entry - Annex A. The purpose of this document is to specify the experimental design required to demonstrate the suitability of the quantification approach proposed by the Applicant and its transferability to an independent laboratory (verification).

Whenever appropriate, we recommend the use of international recognised standards such as from ISO or Pharmacopeia. If this is the case, the proposed method has to be applied for the quantification of the selected phytochemical marker(s) in the feed additive subject of the current application authorisation request according to the experimental design described in PART I of this guide, while the experiments described in PART II are not required.

# PART I: Quantitative Assay Report

( One report for each phytochemical marker, to be compiled by the Applicant

Section A

A.1. Applicant Laboratory Identification

| Company / Institute |  |
| --- | --- |
| Department |  |
| Laboratory / Group |  |

A.2. Experience in the field, related to the method(s) under investigation

- Your laboratory carries this type of analyses 	
			 Often	 Seldom	 Never

- Accreditation: 	 Yes		 No		 Pending	
- according to/compliant with (specify standard):      
- specify scope of accreditation :

A.3. List of samples analysed in the frame of the quantitative assay

|  | Description, specify analyte, matrix (specify major constituents) |
| --- | --- |
| Standard(s) for Calibration (if applicable) |  |
| Test samples (batch numbers) |  |

| Storage conditions used (short description) |  |
| --- | --- |
| Date(s) of Measurement campaign |  |

Quantitative Assay Report approved by:

| Name |  |
| --- | --- |
| Function |  |
| Date |  |
| Signature |  |

To be completed by the Applicant Laboratory

Section B   (( One for each phytochemical marker)

B.1. Scope: Quantification assay

Title of the Method

for the determination of       (specify phytochemical marker)

in the Feed Additive        (specify the Feed Additive)

The quantification of the phytochemical marker is expressed as:	
 Absolute (mass fraction, using standard substance)

Relative (chromatographic signal fraction, % using total signal of all constituents)

Section C   (( One for each phytochemical marker)

C.1. Calibration (when applicable i.e. when expressed as mass fraction)

( Provide one set of calibration for each phytochemical marker.

| Method |  |
| --- | --- |
| Phytochemical Marker |  |
| Feed Additive |  |

| Calibration date (Day 1) |  |
| --- | --- |
| Standard for calibration |  |
| Calibration Equation & correlation coeff. |  |
| Calibration Graph (insert Graph() |  |

| Calibration date (Day 2) |  |
| --- | --- |
| Calibration Equation & correlation coeff. |  |
| Calibration Graph (insert Graph() |  |

Comments - describe experimental problems encountered (if any)

C.2. Test samples

( Provide one set of test samples for each 
phytochemical marker.

| Method |  |
| --- | --- |
| Phytochemical Marker |  |
| Feed Additive |  |
| Expected content range as specified in the dossier, unit (i.e. mass fraction OR relative % signal) |  |

|  | Date (dd/mm/yyyy) | Batch No | Replicate ID | Sample intake | Results (a) |
| --- | --- | --- | --- | --- | --- |
| Day 1 |  |  |  |  |  |
| Day 2 |  |  |  |  |  |
|  |  | Units: |  |  |  |

(a) Provide (when possible) 3 significant digits (i.e. 0,123 or 1,23 or 12,3 or 123)

Estimates of mean, relative standard deviations for repeatability (RSDr) and intermediate precision (RSDip)

| Batch No |  |  |
| --- | --- | --- |
| Mean |  |  |
| RSDr (%) |  |  |
| RSDip (%) |  |  |

Comments

- Specify calculation of mean, RSDr and RSDip

- Describe experimental problems encountered (if any)

# PART II: Transferability Report

( One report for each phytochemical marker, to be compiled by the Independent Expert Laboratory

Section 1

1.1. Laboratory Identification

| Company / Institute |  |
| --- | --- |
| Department |  |
| Laboratory / Group |  |

1.2. Experience in the field, related to the method(s) under investigation

- Your laboratory carries this type of analyses 	
			 Often	 Seldom	 Never

- Accreditation: 	 Yes		 No		 Pending	
- according to/compliant with (specify standard):      
- specify scope of accreditation :

1.3. List of samples analysed in the frame of the transferabilty

|  | Description, specify analyte, matrix (specify major constituents) | Amount delivered & units |
| --- | --- | --- |
| Standard(s) for Calibration (if applicable) |  |  |
| Test samples (batch numbers) |  |  |

| Sample Delivery Date |  |
| --- | --- |
| Storage conditions used (short description) |  |
| Date(s) of Measurement campaign |  |

Verification Report approved by:

| Name |  |
| --- | --- |
| Function |  |
| Date |  |
| Signature |  |

Send the completed Report to the Applicant. Thank you

Section 2   (( One for each phytochemical marker)

2.1. Scope: Verification of

Title of the Method

for the determination of       (specify phytochemical marker)

in the Feed Additive        (specify the Feed Additive)

The quantification of the phytochemical marker is expressed as:	
 Absolute (mass fraction, using standard substance)

Relative (chromatographic signal fraction, % using total signal of all constituents)

2.2. Review of the Operating Procedure (OP) 	
(list of comments discussed with the Applicant)

| Num | Describe problem | Modification suggested |
| --- | --- | --- |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |
| … |  |  |

2.3. Overall evaluation of each method

| Is the Operating Procedure clear & understandable? | Yes No Could improve (cf. Section 2.2.) |
| --- | --- |
| Is the Operating Procedure easy /practical? | Yes No |
| Do your results confirm the –tests carried out by the Applicant? | Yes No Not quite |
| Would you implement this method in your laboratory? | Yes No Explain why? |
| Do you have knowledge of similar methods fit for the purpose? | Yes No If Yes, please provide reference: |

Section 3   (( One for each phytochemical marker)

3.1. Calibration (when applicable i.e. when expressed as mass fraction)

( Provide one set of calibration for each phytochemical marker.

| Method |  |
| --- | --- |
| Phytochemical Marker |  |
| Feed Additive |  |

| Calibration date (Day 1) |  |
| --- | --- |
| Standard for calibration |  |
| Calibration Equation & correlation coeff. |  |
| Calibration Graph (insert Graph() |  |

| Calibration date (Day 2) |  |
| --- | --- |
| Calibration Equation & correlation coeff. |  |
| Calibration Graph (insert Graph() |  |

Comments - describe experimental problems encountered (if any)

3.2. Test samples

( Provide one set of test samples for each 
phytochemical marker.

| Method |  |
| --- | --- |
| Phytochemical Marker |  |
| Feed Additive |  |
| Expected content range as specified in the dossier, unit (i.e. mass fraction OR relative % signal) |  |

|  | Date (dd/mm/yyyy) | Batch No | Replicate ID | Sample intake | Results (a) |
| --- | --- | --- | --- | --- | --- |
| Day 1 |  |  |  |  |  |
| Day 2 |  |  |  |  |  |
|  |  | Units: |  |  |  |

(a) Provide (when possible) 3 significant digits (i.e. 0,123 or 1,23 or 12,3 or 123)

Estimates of mean, relative standard deviations for repeatability (RSDr) and intermediate precision (RSDip)

| Batch No |  |  |
| --- | --- | --- |
| Mean |  |  |
| RSDr (%) |  |  |
| RSDip (%) |  |  |

Comments

- Specify calculation of mean, RSDr and RSDip

- Describe experimental problems encountered (if any)

# ANNEX IV: Transferability Report

( One report for each phytochemical marker, to be compiled by the Applicant

Section 1

1.1. Introduction:

One/Several method(s) has/have been in-house validated:

- Method        (short descriptor)
for the determination of        (specify phytochemical marker) in       (specify the Feed Additive).

The following independent expert laboratory (denoted here after as Lab.2) was selected to confirm the outcome of the validation study(ies):

| Company / Institute |  |
| --- | --- |
| Department |  |
| Laboratory / Group |  |

This report: 
a) presents the comments made by Lab.2 concerning the Operating Procedure document and the consequent corrections implemented; 
b) (if required) provides additional experimental evidence resulting from a major modification in the experimental protocol (see previous point); 
c) compares the performance characteristics submitted by Lab.2 to those obtained during the in-house validation study; 
d) draws conclusions about the successful verification study.

1.2.  Review of suggested modifications for the Operating Procedure(s):

| OP Method # | Comment # | Modification Suggested by Lab.2 | Reply/Justification by Applicant | Category (*) |
| --- | --- | --- | --- | --- |
| 1 | 1 |  |  |  |
| 1 | 2 |  |  |  |
| 1 | 3 |  |  |  |
| … |  |  |  |  |

(*) E: editorial; m: minor; M: major/critical

All modifications are implemented accordingly. The final operating procedure is included in Enclosure      .

At least one "Major/critical" modification was implemented; the following additional experimental data are submitted to complement the in-house validation study. See Enclosure      .

Section 2  (( One for each phytochemical marker)

2.1.  Comparison of estimates of mean, relative standard deviations for repeatability and intermediate precision

| Method |  |
| --- | --- |
| Phytochemical marker |  |
| Feed Additive |  |

|  | Batch No |  |
| --- | --- | --- |
|  | Applicant | Lab.2 | Acceptable? Yes or No |
| Mean |  |  |  |
| RSDr % |  |  |  |
| RSDip % intermediate precision |  |  |  |

|  | Batch No |  |
| --- | --- | --- |
|  | Applicant | Lab.2 | Acceptable? Yes or No |
| Mean |  |  |  |
| RSDr % |  |  |  |
| RSDip % intermediate precision |  |  |  |

Comments

Conclusion:    	Successful Transferability Study:	 Yes	 No

Verification Report Approved by:

| Name |  |
| --- | --- |
| Function |  |
| Date |  |
| Signature |  |

# Footnotes

Specify relevant information, such as temperature, humidity, darkness/light, etc.

Please note that the proposed method for official control must be the same or equivalent as the one used for the determination of the expected content range as specified in the dossier

Amount of sample used for the analysis

Specify relevant information, such as temperature, humidity, darkness/light, etc.

Please note that the proposed method for official control must be the same or equivalent as the one used for the determination of the expected content range as specified in the dossier

Amount of sample used for the analysis